Table of Contents

# Observability Dashboard Standard — L1 / L2 / L3

### A platform-agnostic, SRE-grade standard for tiered dashboards

What this is. A reusable, vendor-neutral standard for building three tiers of observability dashboards for any system — an HTTP API, a streaming/batch pipeline, a database, an ML platform, a mobile backend, infrastructure. It tells you the fixed stacks (sections) every tier must contain and what each means, grounded in the established observability methods. The panels inside a stack flex to whatever the system exposes; the stacks and their intent stay constant so every dashboard — across teams, platforms, and vendors — reads the same way under pressure.

Design goal. A first responder who has never seen your service should be able to open L1 and know whether something is wrong in ~10 seconds, drop to L2 to know what and where in ~1 minute, and use L3 to understand why. Consistency across dashboards is itself a reliability feature: during an incident, muscle memory beats novelty.

How to use it. Pick the tier → run the intake checklist (§11) → clone the matching skeleton (skeleton_L1_universal.json / L2 / L3) → fill each fixed stack with the panels your telemetry supports → check the Definition of Done (§12) and avoid the anti-patterns (§13).

## 0. The three questions (the whole model in one line)

L1 → “Is the system healthy?” · L2 → “What and where is it broken?” · L3 → “Why is it broken?” Everything below is in service of answering those three questions fast, in that order, with a clean drill-down path between them.

## 1. Foundations (the methods this standard is built on)

This standard composes the industry-standard observability methods rather than inventing new ones:

- The Four Golden Signals (Google SRE): Latency, Traffic, Errors, Saturation. The minimum a user-facing system must show.

- RED method (request-driven services): Rate, Errors, Duration — apply per service and per route/endpoint.

- USE method (resources): Utilization, Saturation, Errors — apply per resource (CPU, memory, disk, network, thread/conn pool, queue).

- SLIs / SLOs / Error budgets: measure what users experience, set a target, and spend the remaining budget deliberately. Drives L1.

- Multi-window, multi-burn-rate alerting (Google SRE Workbook): alert on how fast you are burning budget, not on raw thresholds. Drives the SLO stack.

- The telemetry pillars: metrics (cheap, aggregate, alertable) → logs (detailed, high-cardinality) → traces/exemplars (causal, cross-service). Higher tiers lean more on logs/traces.

Rule of thumb: RED for services, USE for resources, Golden Signals for the user-facing topline, SLOs for the headline. Every tier should make clear which method each stack is satisfying.

## 2. The tier model

|  | L1 — Overview | L2 — Triage | L3 — Deep Diagnostics |
| --- | --- | --- | --- |
| Question | Is the system healthy? | What and where is broken? | Why is it broken? |
| Audience | NOC / on-call glance / leadership | On-call triaging an alert | Engineer in the incident |
| Scope | Whole service/product, SLO level | Service → component/route/resource | One component/endpoint/instance |
| Primary methods | SLO + Golden Signals (aggregate) | RED (per service) + USE (per resource) + dependencies | Golden Signals (scoped) + error taxonomy + latency distribution + traces |
| Telemetry | Metrics | Metrics (+ some logs) | Logs + traces/exemplars + metrics |
| Default range | now-6h (and an SLO-window view) | now-6h / now-24h | now-1h to now-24h |
| “Done in” | ~10 seconds | ~1 minute | as long as it takes |
| Panels on screen | few, large, no scroll | moderate | many, detailed |

Each tier drills into the next: L1 tiles link to the matching L2; L2 tiles link to the matching L3 (and to a resource/instance view); L3 links back up and across to siblings. Links carry variables + the active time range.

## 3. Universal design principles (best practices for any dashboard)

- One question per panel. If you can’t state the question a panel answers in a sentence, remove it.

- Priority by position. Most important, most aggregated info top-left; detail flows down and right. L1 is the most aggregated; L3 the most detailed.

- Percentiles, never averages, for latency. Show p50/p90/p95/p99 (and max for outliers). Averages hide tail pain. Use a heatmap for the full distribution.

- Rates, not raw counts, for errors/traffic — and show error rate as a proportion (errors/total), not just a count, so it’s comparable across load.

- Saturation needs a limit line. A utilization/queue panel is only meaningful against its capacity/limit threshold.

- Semantic, colorblind-safe color. Green=healthy, amber=warning, red=breach — consistently, everywhere. Don’t use color decoratively.

- Consistent units & thresholds. Set units (s/ms, %, req/s, bytes) and threshold steps on every numeric panel.

- Annotate changes. Overlay deploys/config changes/feature flags as annotations — “what changed” is the first triage question.

- Templating over duplication. Use variables ($environment, $service, $instance, $region, $datasource) so one dashboard serves many scopes; default to sensible values.

- Drill-down, not dead-ends. Every aggregate tile links to the next level with context preserved.

- No dual Y-axes; tidy legends. Avoid misleading dual axes; keep legends short (use {{label}} templating); cap series or use “top N”.

- Dashboards as code. Version the JSON, assign an owner, review changes, and keep uids/slugs stable.

- Tie panels to alerts/SLOs. The signals you alert on should be visible here; the SLO stack should mirror your alerting burn-rate policy.

- Readable under stress. Fewer, larger panels beat a wall of sparklines. Optimize L1 for a 3am glance on a phone.

## 4. The stack concept

A stack is a named row representing one observability intent (mapped to a method). Stacks are fixed per tier (name + meaning); the panels inside are whatever your telemetry supports. Keep a stack even if you can fill it with one panel; if it genuinely can’t be filled, leave a short text panel explaining why rather than deleting it (so reviewers see the gap). This is what makes dashboards interchangeable across platforms.

## 5. L1 stacks — Overview (“Is the system healthy?”) · tags [L1]

| Stack (row) | Intent | Method | Mandatory | Example panels (flex) | Drill-down |
| --- | --- | --- | --- | --- | --- |
| 1. SLO & Error Budget | Are we meeting our promise; how much budget is left; how fast are we burning it? | SLO | Yes | Availability/latency SLO compliance (stat/gauge), error-budget remaining (bar/stat), multi-window burn-rate (timeseries) | → L2 |
| 2. Golden-Signal Topline | Aggregate Traffic, Errors, Latency, Saturation right now | Golden Signals | Yes | Requests/sec, overall error rate %, p95/p99 latency, peak saturation — all aggregate stats/timeseries | → L2 |
| 3. Critical Dependencies & Capacity | Are our key upstreams/downstreams up; do we have headroom? | USE (capacity) | Yes | Dependency up/down matrix, headroom gauges (CPU/mem/queue vs limit), regional/zone status | → L2 / L3 |
| 4. Active Incidents & Changes (recommended) | What’s already firing and what just changed | — | Optional | Firing-alerts list, recent deploy annotations/version, change log | → alert/runbook |

L1 rule: summary only, single screen, no per-request detail. If a number is red here, one click goes to the L2 that explains it.

## 6. L2 stacks — Triage (“What and where is broken?”) · tags [L2]

| Stack (row) | Intent | Method | Mandatory | Example panels (flex) | Drill-down |
| --- | --- | --- | --- | --- | --- |
| 1. Request Health (per service/route) | Which service/endpoint is failing or slow | RED | Yes | Rate, error rate, and p95/p99 duration per service and per route; top failing endpoints | → L3 service |
| 2. Resource Health (per resource) | Which resource is constrained | USE | Yes | CPU/mem/disk/network utilization + saturation (with limits), thread/conn-pool & queue depth, restarts/OOM | → L3 resource/instance |
| 3. Dependency & Integration Health | Are downstreams/externals the cause | RED (per dependency) | Yes | Per-dependency rate/errors/latency, timeouts, retries, circuit-breaker state, DB/queue health | → dependency L3 |
| 4. Change & Deploy Correlation | Did a change cause this | — | Recommended | Deploy/version timeline, config/flag changes overlaid on error/latency | → CI/CD / change record |

L2 rule: break the system down by the dimension that routes the investigation (service, route, resource, dependency, version). Anything that has an L3 must be reachable from here.

## 7. L3 stacks — Deep Diagnostics (“Why is it broken?”) · tags [L3]

| Stack (row) | Intent | Method | Mandatory | Example panels (flex) |
| --- | --- | --- | --- | --- |
| 1. Overview / Golden Signals (scoped) | One-glance health of this component | Golden Signals | Yes | Traffic, error rate, p95/p99 latency, saturation — scoped stats |
| 2. Traffic & Demand | How much, from where, of what kind | RED (Rate) | Yes | Volume over time; by endpoint/method/client/tenant/region; request size |
| 3. Errors (taxonomy) | Exactly what is failing and why | RED (Errors) | Yes | Error rate over time; by type/code/cause; true failures vs ancillary (kept separate); top error messages |
| 4. Latency (distribution) | Where the time goes and the tail shape | RED (Duration) | Yes if available | Percentiles over time + latency heatmap; latency by endpoint/dependency; slowest operations |
| 5. Saturation & Resources | Is it resource-bound | USE | Yes if applicable | Queue depth, pool exhaustion, CPU/mem/GC, I/O wait, backlog/lag — each vs its limit |
| 6. Dependencies (per-dependency RED) | Which downstream is dragging us | RED | Yes if applicable | Per-dependency rate/errors/latency, retry/timeout/circuit-breaker, connection pool |
| 7. Breakdown (by dimension) | Which slice is affected | All | Yes | By endpoint/version/region/tenant/instance/model — success-rate & latency tables |
| 8. Troubleshooting (logs/traces) | Get to the actual failing unit of work | Pillars | Yes | Exemplars/trace links, recent failures with correlation IDs + status, filtered log explorer |

L3 rule: separate true component failures from ancillary noise, prefer distributions over averages, expose correlation IDs / trace links, and end with a troubleshooting stack that reaches individual events.

## 8. Method → tier coverage matrix

| Method / signal | L1 | L2 | L3 |
| --- | --- | --- | --- |
| Traffic (Rate) | Topline | Request Health | Traffic & Demand |
| Errors | SLO + Topline | Request + Dependency Health | Errors (taxonomy) |
| Latency (Duration) | Topline | Request Health | Latency (distribution) |
| Saturation (USE) | Capacity | Resource Health | Saturation & Resources |
| SLO / Error budget | SLO & Error Budget | (derived) | (scoped overview) |
| Dependencies | Critical deps | Dependency Health | Per-dependency RED |
| Change/Deploy | Incidents & Changes | Change Correlation | (annotations) |

A tier is incomplete if any applicable row is empty.

## 9. SLIs, SLOs & burn-rate alerting (drives L1)

Pick SLIs that reflect user experience. Common SLI types: - Availability = good events / valid events (e.g. non-5xx / total, or successful jobs / scheduled jobs). - Latency = proportion of requests faster than a threshold (e.g. ≥99% < 300ms). - Quality / correctness = proportion of responses that are correct/complete. - Freshness / lag (pipelines/streaming) = proportion of data processed within the freshness target. - Throughput / coverage / durability as the domain requires.

Express the SLI as a ratio of good to valid events, set the SLO target (e.g. 99.9% over 30 days), and the error budget is 1 − SLO. The L1 “SLO & Error Budget” stack shows: current SLI, target, budget remaining, and burn rate.

Multi-window, multi-burn-rate alerting (canonical, 30-day window) — mirror this in the burn-rate panel and your alert rules:

| Severity | Budget consumed if sustained | Long window | Short window | Burn rate |
| --- | --- | --- | --- | --- |
| Page (fast burn) | 2% in 1h | 1h | 5m | 14.4 |
| Page (medium) | 5% in 6h | 6h | 30m | 6 |
| Ticket (slow) | 10% in 3d | 3d | 6h | 1 |

The short window confirms the condition is still active (prevents alerting on an event that already ended); the long window controls precision. Show all three burn rates as series so responders see how fast budget is being spent.

## 10. Cross-cutting conventions

Naming. Dashboard: <Service/Scope> <Tier> (e.g. “Checkout API L2”). Rows: the fixed stack names above, verbatim. Panels: <Subject> <Metric> [by <Dimension>] [(qualifier)] — e.g. “Checkout Error Rate by Route”, “p99 Latency (heatmap)”. No vague titles; no duplicates; every panel has a description stating its question.

Tags. [L1] / [L2] / [L3] are mandatory (they power the cross-tier link dropdowns). Add domain tags as useful (team:, service:, env:).

Variables (standard set, platform-agnostic). - $datasource (type=datasource) — never hardcode a datasource uid. - $environment, $region, $cluster, $service, $instance — the scoping chain (use what applies). - Dimension vars as supported: $route, $tenant, $version, etc. Use includeAll with allValue="*" so “All” works. Only add a variable if the field exists and is useful.

Links / drill-down. Use tag-based dashboard-link dropdowns (asDropdown, includeVars, keepTime) to move between tiers (L1→L2; L2→L1,L3; L3→L2,L3). Use panel data-links for specific drill-downs that must carry context (var-* + time). Reference targets by stable uid.

Time & annotations. Consistent default range per tier; always expose an SLO-window view on L1. Wire a deploy/change annotation source so changes overlay on every time panel.

Units, thresholds, color. Set explicit units; set threshold steps (green/amber/red) on stats/gauges; reserve red strictly for SLO/limit breach; choose colorblind-safe palettes; put a limit/threshold line on saturation panels.

Datasource-agnostic telemetry guidance. This standard works whether you’re on Prometheus/Thanos/Mimir (metrics), Loki/Elastic/Splunk/LogScale (logs), Tempo/Jaeger/Zipkin (traces), CloudWatch/Azure Monitor/Stackdriver (cloud), or SQL. Principles: classify by the field that means the thing (status code, route, result) — never by a proxy (log level, a shared key) that only looks right; prefer metrics for L1/L2 (cheap, alertable) and logs/traces for L3 (detail, causality); count distinct work units (request/job IDs) for “how many,” not raw log lines; and verify every query against live data before trusting it.

Visualization selection guide.

| Signal | Recommended visualization |
| --- | --- |
| SLO compliance / availability | Stat or gauge (with target threshold) |
| Error budget remaining | Bar gauge / stat |
| Burn rate | Timeseries (multi-window series) |
| Traffic / rate | Timeseries (req/s) |
| Error rate | Timeseries (%) + stat |
| Latency | Percentile timeseries + heatmap for distribution |
| Saturation / utilization | Timeseries + gauge, with a limit line |
| Breakdown by dimension | Table or bar gauge (top-N, sorted) |
| Dependency matrix / health | Status grid / table |
| Individual events | Logs panel, trace view, table with correlation IDs |

## 11. New-dashboard intake checklist (ask before building)

- Tier? Overview (L1), triage (L2), or deep-dive (L3)?

- Scope & ownership? What service/system; who owns it; name, folder, tags?

- User journey / critical path? What does “healthy” mean to the user?

- SLIs/SLOs? What are the SLIs, targets, and error-budget window? (Needed for L1.)

- Telemetry available? Metrics, logs, traces? Which datasource(s)/uid (or $datasource)?

- Source-of-truth signals? How are success/failure, latency, and saturation actually determined — confirm against code/config, not assumption.

- Methods coverage? Can you fill RED (services), USE (resources), and the golden signals? Where are the gaps?

- Dimensions? Which breakdowns matter (route, region, version, tenant, instance) → which become variables?

- Dependencies? Upstreams/downstreams/externals to monitor and link to.

- Drill-down? Parent (up) and children (down) — and is this reachable from its parent?

- Change visibility? Is there a deploy/annotation feed to overlay?

- Open questions? List what can’t be decided yet — don’t silently guess.

## 12. Definition of Done (every dashboard)

- ☐ Correct tier, name, folder, tags; owner assigned; stored as code/versioned.

- ☐ All fixed stacks for the tier present (empty ones explained, not deleted).

- ☐ Method coverage complete for the tier (RED/USE/Golden/SLO as applicable).

- ☐ Latency shown as percentiles (+ heatmap at L3); errors as rates; saturation against limits.

- ☐ Standard variables wired; only supported ones added; All works.

- ☐ Drill-down links in/out (tag dropdowns + data-links carrying var + time); reachable from parent.

- ☐ Deploy/change annotations overlaid; consistent units, thresholds, semantic color.

- ☐ Panel titles + descriptions per §10; no duplicates; no vanity panels.

- ☐ Every query verified against live data; source-of-truth signals confirmed (not proxies).

- ☐ SLO stack mirrors the alerting/burn-rate policy.

- ☐ Risks, assumptions, and open questions documented.

## 13. Anti-patterns (do NOT do these)

- Averages for latency, or a single latency line with no distribution.

- Counts without rates (can’t compare across load).

- Classifying by proxy (log level, a shared timing key) instead of the true signal.

- Wall-of-graphs with no hierarchy; everything the same size; no clear “most important.”

- Dead-end panels with no drill-down; orphaned dashboards not reachable from a parent.

- Saturation without a limit line; dual Y-axes; rainbow/ decorative color.

- Vanity metrics (raw INFO log counts, total-ever counters) that don’t drive action.

- Per-dashboard reinvention — diverging stack names/layout so responders can’t navigate by memory.

- Hardcoded datasource uids / no templating — breaks reuse and promotion across environments.

## 14. Observability maturity (how to grow into this)

- Level 1 — Logs only: derive RED from logs; L3-heavy. (Where many teams start.)

- Level 2 — Metrics + SLOs: add metric-based RED/USE and an SLO stack; build real L1/L2.

- Level 3 — Traces + exemplars: link metrics→traces; L3 troubleshooting becomes causal.

- Level 4 — SLO-driven ops: multi-burn-rate alerting, error-budget policy, dashboards-as-code, automated drill-down. You can adopt this standard at any level — fill what you have, mark the gaps, and close them over time.

## 15. Using the skeleton JSONs

skeleton_L1_universal.json / _L2_ / _L3_ each import cleanly (they use a $datasource variable — Grafana prompts you to pick one; nothing is hardcoded). Each contains: the fixed stacks for its tier as rows, the standard variables, tag-based cross-tier link dropdowns, the correct tier tags (+ a TEMPLATE tag so they don’t appear in normal views), and in every stack a text “what goes here” panel (intent, method, recommended viz, example panels, required signals) beside example placeholder tiles showing the layout. To use: import → set name/folder/tags/uid/owner → replace placeholders with real panels for your system → wire variables and links → run the Definition of Done. The “Anthropic Requests L3” dashboard is a worked example of the L3 pattern (Errors stack split into true-failures vs platform-noise, distribution-based latency, troubleshooting with correlation IDs).